## 2023 Verified Savings Summary
Nicor Gas 2023 Verified Savings Summary
| Ex Ante Gross | Realization Rate | Verified Gross |  | Deemed / Used | Verified Net |  |  |  | Program Costs |  |  | Participation |  | Verified Gross Weighted Average Measure Life | GHG Savings |  | Water Savings |  | Incremental Costs
| Annual Savings | Annual Savings (Verified Gross / Ex Ante Gross) | Annual Savings | Lifetime Savings | Net-to-Gross Ratio | Annual Savings | Lifetime Savings | Cost per Annual Savings | Cost per Lifetime Savings | Non-Incentives | Incentives | Total Spend | # Units | Units Definition | Years | Annual Verified Net CO2 Savings | Lifetime Verified Net CO2 Savings | Annual Verified Net Water Savings | Lifetime Verified Net Water Savings | Gross IMC | Net IMC
| Therms | % | Therms | Therms | % | Therms | Therms | $/Therms | $/Therms | $ | $ | $ |  |  |  | metric tons CO2 | metric tons CO2 | Gallons | Gallons | $ | $
(a) | (b) | (c=d/b) | (d) | (e) | (f=g/d) | (g) | (h) | (i=(k+l)/g) | (j=(k+l)/h) | (k) | (l) |  | (m) | (n) | (o=e/d)
Business Custom Rebates, Plus Nicor Gas only RCx | 2518301 | 98.82% | 2488589 | 44798208.2 | 84.34% | 2098988 | 37761445 | 1.9031 | 0.10579 | 1576248.0874 | 2418384.8844 | 3994632.9718 | 90 | Projects | 17.9903 | 11105.7455 | 199795.8055 | 230296.2088 | 1612073.4619 | 14556454.09 | 12359542.3806
Business Energy Efficiency Rebates | 3019079.3 | 100% | 3018991.92 | 22270405.2435 | 91.69% | 2768090.0688 | 20187910.9305 | 1.31 | 0.17962 | 2068420 | 1557763 | 3626183 | 5700 | Varies | 7.2931 | 14645.9646 | 106814.2367 | 10092144.8592 | 69258925.4037 | 1837668.3356 | 1618800.5059
Coordinated Non-Residential New Construction | 280513 | 94.1% | 263961.34 | 5437603.604 | 47.92% | 126500.09 | 2605901.85 | 3.4308 | 0.16655 | 214816 | 219185 | 434001 | 41 | Projects | 20.6 | 669.312 | 13787.8267 | 0 | 0 | 219185 | 219185
Coordinated Retro Commissioning | 209494 | 91.39% | 191465.03 | 1646599.258 | 98.44% | 188481.28 | 1620939.01 | 1.7631 | 0.20501 | 131125.9126 | 201182.1156 | 332308.0282 | 18 | Projects | 8.6 | 997.2545 | 8576.3883 | 0 | 0 | 201182.1156 | 201182.1156
Small Business Program | 1226694.24 | 100.1% | 1227837.31 | 7530178.15 | 96.4% | 1183659.53 | 7258785.8 | 1.3543 | 0.22084 | 931938 | 671092 | 1603030 | 2586 | Varies | 6.1325 | 6262.7426 | 38406.2357 | 0 | 0 | 671092 | 671092
Strategic Energy Management | 1054017 | 100.7% | 1061096 | 7427672 | 97% | 1029263 | 7204841 | 0.88433 | 0.12633 | 251360 | 658849 | 910209 | 24 | Projects | 7 | 5445.8305 | 38120.8137 | 0 | 0 | 658849 | 658849
Affordable Housing New Construction (AHNC) | 16431.65 | 100.4% | 16490.93 | 248522.0252 | 100% | 16490.93 | 248557.8 | 19.3924 | 1.2866 | 273364 | 46434 | 319798 | 104998 | Varies | 15.0724 | 87.2535 | 1315.1193 | 0 | 0 | 114258.6653 | 114258.6653
Multi-Family - IHWAP, Contractors Channel, BNP, Kits | 936254.1 | 99.87% | 935005.1 | 14903972.78 | 100% | 935005.1 | 14903972.78 | 5.7166 | 0.35863 | 2026557.9038 | 3318479.9943 | 5345037.8981 | 1227519 | Varies | 15.94 | 4947.112 | 78856.92 | 12808173.8152 | 105476200.7474 | 3318479.9943 | 3318479.9943
Public Housing Energy Savings | 49954 | 102% | 50960 | 533720 | 100% | 50960 | 533720 | 12.918 | 1.2334 | 276914 | 381389 | 658303 | 105708 | Varies | 10.4733 | 269.6294 | 2823.9125 | 0 | 0 | 397517.56 | 397517.56
Single Family - IHWAP, Contractors Channel, BNP, Kits | 889632.2 | 99.1% | 881609.79 | 14470697.7729 | 100% | 881609.79 | 14470697.774 | 8.4929 | 0.51742 | 1861709.0962 | 5625727.0057 | 7487436.1019 | 1195421 | Varies | 16.4139 | 4664.5974 | 76564.4619 | 0 | 0 | 5864531.054 | 5750224.8368
Elementary Education Kits (EEE) | 440274.93 | 100% | 440274.93 | 5823821.14 | 104.1% | 458117.51 | 6060522.74 | 1.1128 | 0.084119 | 183195 | 326610 | 509805 | 245236 | Varies | 13.2292 | 2423.8997 | 32066.2258 | 30968919.5625 | 264680869.4282 | 326610 | 326610
Energy-Savings Kits (ESK) | 457726 | 100% | 457726 | 7488268 | 97.12% | 444549 | 7058090 | 2.6294 | 0.16561 | 381624 | 787282 | 1168906 | 1114544 | Each | 15.877 | 2352.1088 | 37344.3542 | 37935414.4228 | 340061469.6944 | 787282 | 787282
Home Energy Efficiency Rebates (HEER) | 3708126.07 | 100.4% | 3724333.31 | 57730087.9318 | 91.91% | 3423178.77 | 52592392.1447 | 1.1174 | 0.072733 | 1425762 | 2399446 | 3825208 | 30965 | Each | 15.3636 | 18112.0389 | 278266.3468 | 0 | 0 | 18974466.77 | 15328123.9767
Home Energy Reports | 0 | NA | 1010840 | 7075880 | 70.09% | 708472 | 4959304 | 1.2417 | 0.17739 | 302374 | 577333 | 879707 | 487139 | Each | 7 | 3748.5254 | 26239.6775 | 0 | 0 | 577333 | 577333
Home Energy Savings/HEA | 606459.73 | 99.82% | 605392.93 | 10116508.7563 | 95.29% | 576884.75 | 9594329 | 5.0087 | 0.30116 | 1592562 | 1296876 | 2889438 | 1595923 | Participant | 16.6313 | 3052.2972 | 50763.5947 | 5816121.3098 | 58161213.0975 | 6064444.56 | 5674585.5002
Multi-Family Program | 581654.63 | 103.9% | 604533.09 | 6640414.044 | 97.75% | 590938.67 | 6498801.2836 | 2.9224 | 0.26573 | 970960 | 755980 | 1726940 | 243228 | Varies | 10.9974 | 3126.6565 | 34385.1576 | 875159.9205 | 7134554.4652 | 1697766.4 | 1677543.2499
Residential New Construction | 654383.11 | 99.85% | 653402.93 | 11208800.01 | 86.16% | 562950 | 9563963 | 1.4397 | 0.084743 | 347610 | 462870 | 810480 | 7903 | Varies | 16.989 | 2978.5684 | 50602.9282 | 0 | 0 | 4287373 | 3611276.2498
Market Transformation | 0 | NA | 0 | 0 | NA | 0 | 0 | NA | NA | 1378969 | 0 | 1378969 | 0 | Varies | NA | 0 | 0 | 0 | 0 | 0 | 0
Business | 8308098.54 | 99.32% | 8251940.6 | 89110666.4555 | 89.62% | 7394981.9688 | 76639823.5905 | 1.474 | 0.14223 | 5173908 | 5726456 | 10900364 | 8459 |  | 10.7988 | 39126.8496 | 405501.3066 | 10322441.068 | 70870998.8656 | 18144430.5412 | 15728651.0021
Income Eligible | 1892271.95 | 99.57% | 1884065.82 | 30156912.5781 | 100% | 1884065.82 | 30156948.354 | 7.3302 | 0.45796 | 4438545 | 9372030 | 13810575 | 2633646 |  | 16.0063 | 9968.5923 | 159560.4137 | 12808173.8152 | 105476200.7474 | 9694787.2735 | 9580481.0564
Residential | 6448624.47 | 116.2% | 7496503.19 | 106083779.8821 | 90.24% | 6765090.7 | 96327402.1683 | 1.7458 | 0.12261 | 5204087 | 6606397 | 11810484 | 3724938 |  | 14.1511 | 35794.0949 | 509668.2849 | 75595615.2155 | 670038106.6852 | 32715275.73 | 27982753.9766
MT & ET | 0 | N/A | 0 | 0 | N/A | 0 | 0 | N/A | N/A | 1378969 | 0 | 1378969 | 0 |  | NA | 0 | 0 | 0 | 0 | 0 | 0
Other Portfolio Costs | [9 empty] | 7387717
Portfolio Total | 16648994.96 | 105.9% | 17632509.61 | 225351358.9157 | 90.99% | 16044138.4888 | 203124174.1128 | 2.8227 | 0.22296 | 23583226 | 21704883 | 45288109 | 6367043 | Varies | 12.7804 | 84889.5367 | 1074730.0052 | 98726230.0988 | 846385306.2983 | 60554493.5447 | 53291886.0351
Note: Savings and benefits from the BOC program are reported as part of the BEER program.

## 2023 High Impact Measures
Nicor Gas 2022 High Impact Measure Summary
Sector | Measure Name (Standardized) | Verified Annual Gross Therms | Verified Gross Lifetime Savings | Measure Life (Years) | Rank | Share of Portfolio Annual Gross | Cumulative Annual Gross
Business | Custom | 4377248.81 | 64995278.8461 | 14.8484 | 1 | 24.82% | 24.82%
Business | Steam Trap Replacement or Repair | 3478769.27 | 21836153.3148 | 6.277 | 2 | 19.73% | 44.55%
Residential | Gas High Efficiency Furnace | 2279420.44 | 44455811.0659 | 19.5031 | 3 | 12.93% | 57.48%
Residential | Advanced Thermostats | 2149726.73 | 23646994.03 | 11 | 4 | 12.19% | 69.67%
Residential | Air Sealing | 1095551.01 | 21911020.2 | 20 | 5 | 6.213% | 75.89%
Residential | Behavioral Savings | 1010840 | 7075880 | 7 | 6 | 5.733% | 81.62%
Residential | Space Heating Boiler Tune-up | 491232.97 | 1473698.91 | 3 | 7 | 2.786% | 84.41%
Residential | Pipe Insulation | 412911.81 | 6193677.15 | 15 | 8 | 2.342% | 86.75%
Residential | Ceiling/Attic Insulation | 368412.48 | 7368249.6 | 20 | 9 | 2.089% | 88.84%
Business | Gas High Efficiency Boiler | 269273.4 | 6462690.3358 | 24.0005 | 10 | 1.527% | 90.36%
Residential | Low Flow Showerheads | 200236.06 | 1999778.72 | 9.9871 | 11 | 1.136% | 91.5%
Residential | Duct Sealing | 156272.46 | 2943449.8571 | 18.8354 | 12 | 0.8863% | 92.39%
Business | DHW Controller | 143519 | 2152785 | 15 | 13 | 0.8139% | 93.2%
Residential | Shower Timer | 138426.64 | 276853.28 | 2 | 14 | 0.7851% | 93.98%
Residential | Process Boiler Tune-up | 102363.42 | 204726.84 | 2 | 15 | 0.5805% | 94.57%
Residential | Boiler Lockout/Reset Controls | 100307.23 | 1604915.68 | 16 | 16 | 0.5689% | 95.13%
Business | Low Flow Faucet Aerators | 83304.9 | 876111.6544 | 10.5169 | 17 | 0.4725% | 95.61%
Residential | Programmable Thermostats | 81470.82 | 658284.2256 | 8.08 | 18 | 0.462% | 96.07%
Residential | Duct Insulation and Sealing | 66265.57 | 1325311.4 | 20 | 19 | 0.3758% | 96.44%
Residential | Automatic Conveyor Broiler | 61525.64 | 738307.68 | 12 | 20 | 0.3489% | 96.79%
Residential | On Demand Water Heater | 53664.67 | 697640.71 | 13 | 21 | 0.3044% | 97.1%
Residential | AC Cover and Gap Sealer | 53055 | 835170 | 15.7416 | 22 | 0.3009% | 97.4%
Residential | ENERGY STAR Fryer | 50676.13 | 608113.56 | 12 | 23 | 0.2874% | 97.69%
Business | Wall Insulation | 47850.66 | 957013.2 | 20 | 24 | 0.2714% | 97.96%
Residential | Low Flow Aerators | 37113.27 | 371132.7 | 10 | 25 | 0.2105% | 98.17%
Residential | Residential Furnace Tune-Up | 37013.05 | 111039.15 | 3 | 26 | 0.2099% | 98.38%
Business | Gas Water Heater | 34517.59 | 438059.8127 | 12.6909 | 27 | 0.1958% | 98.57%
Residential | Tankless Water Heater | 32765.8 | 387619.414 | 11.83 | 28 | 0.1858% | 98.76%
Residential | Basement Sidewall Insulation | 31654.57 | 633091.4 | 20 | 29 | 0.1795% | 98.94%
Residential | High Efficiency Pre-Rinse Spray Valve | 25403.39 | 108154.7081 | 4.2575 | 30 | 0.1441% | 99.08%
Residential | Boiler Averaging Controls | 20856 | 417120 | 20 | 31 | 0.1183% | 99.2%
Residential | Domestic Hot Water Pipe Insulation | 19763.07 | 296446.05 | 15 | 32 | 0.1121% | 99.31%
Residential | Boiler Chemical Descaling | 18910.12 | 113460.72 | 6 | 33 | 0.1072% | 99.42%
Business | Combination Boiler | 18642.53 | 400814.395 | 21.5 | 34 | 0.1057% | 99.53%
Business | Reprogrammable Thermostats | 14712.28 | 29424.56 | 2 | 35 | 0.08344% | 99.61%
Residential | Water Heater Temperature Setback | 11703.24 | 23406.48 | 2 | 36 | 0.06637% | 99.68%
Residential | DHW Tank Insulation | 8982 | 134730 | 15 | 37 | 0.05094% | 99.73%
Business | AC Tune-up | 6764.65 | 20293.95 | 3 | 38 | 0.03836% | 99.77%
Residential | Pool Covers | 5440.87 | 32645.22 | 6 | 39 | 0.03086% | 99.8%
Business | Kitchen Demand Ventilation Controls | 5224.5 | 104490 | 20 | 40 | 0.02963% | 99.83%
Residential | Convection Oven | 4380.68 | 52568.16 | 12 | 41 | 0.02484% | 99.85%
Residential | Griddle | 4119.19 | 49430.28 | 12 | 42 | 0.02336% | 99.87%
Residential | Thermostatic Radiator Valves | 3686 | 55290 | 15 | 43 | 0.0209% | 99.89%
Residential | Floor Insulation | 3273.2 | 65464 | 20 | 44 | 0.01856% | 99.91%
Residential | Combination Oven | 2829.71 | 33956.52 | 12 | 45 | 0.01605% | 99.93%
Business | Infrared Charbroiler | 2826.72 | 33920.64 | 12 | 46 | 0.01603% | 99.95%
Business | Infrared Heaters (all sizes), Low Intensity | 2793.43 | 41901.45 | 15 | 47 | 0.01584% | 99.96%
Business | Linkageless Controls | 1613 | 32260 | 20 | 48 | 0.009148% | 99.97%
Business | Compressed Air Heat Recovery | 1570.52 | 23557.8 | 15 | 49 | 0.008907% | 99.98%
Residential | Small Commercial Programmable Thermostats | 1401.96 | 15421.56 | 11 | 50 | 0.007951% | 99.99%
Residential | Pasta Cooker | 1380 | 16560 | 12 | 51 | 0.007826% | 100%
Business | Dishwasher | 527.31 | 7545.8061 | 14.31 | 52 | 0.002991% | 100%
Business | Infrared Salamander Broiler | 240.24 | 2882.88 | 12 | 53 | 0.001362% | 100%
Business | Commercial Weather Stripping | 75.6 | 756 | 10 | 54 | 0.0004288% | 100%
Portfolio |  | 17632509.61 | 225351358.9157 | 12.7804

## 2023 TRC
TRC Results for Nicor Gas, 2023 Programs (Societal Discount Rate, Plan 4 Avoided Costs)
Program | Benefits |  | Costs |  |  | IL Total Resource Cost (TRC) Test
| Avoided Gas Savings | All Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | IL TRC Benefits | IL TRC Costs | IL TRC Test Net Benefits | IL TRC Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (j) =
[6 empty] | (b+c) | (d+f) | (g-h) | (g/h)
Business Custom Rebates, Plus Nicor Gas only RCx | 25417111.996 | 18583170.1938 | 1576248.0874 | 2418384.8844 | 12359542.3806 | 44000282.1898 | 13935790.468 | 30064491.7219 | 3.1574
Business Energy Efficiency Rebates | 13404706.9915 | 10081894.7554 | 2068420 | 1557763 | 1618800.5059 | 23486601.7469 | 3687220.5059 | 19799381.241 | 6.3697
Coordinated Non-Residential New Construction | 1760040.3112 | 1287720.9047 | 214816 | 219185 | 219185 | 3047761.2159 | 434001 | 2613760.2159 | 7.0225
Coordinated Retro Commissioning | 1079014.9845 | 768439.8022 | 131125.9126 | 201182.1156 | 201182.1156 | 1847454.7867 | 332308.0282 | 1515146.7584 | 5.5595
Small Business Program | 4822604.3435 | 3732833.4144 | 931938 | 671092 | 671092 | 8555437.7579 | 1603030 | 6952407.7579 | 5.337
Strategic Energy Management | 4833209.5093 | 3380301.695 | 251360 | 658849 | 658849 | 8213511.2043 | 910209 | 7303302.2043 | 9.0238
Affordable Housing New Construction (AHNC) | 165812.4934 | 121285.9099 | 273364 | 46434 | 114258.6653 | 287098.4033 | 387622.6653 | -100524.2619 | 0.74066
Multi-Family - IHWAP, Contractors Channel, BNP, Kits | 9971978.3078 | 8034260.3358 | 2026557.9038 | 3318479.9943 | 3318479.9943 | 18006238.6435 | 5345037.8981 | 12661200.7454 | 3.3688
Public Housing Energy Savings | 351920.6197 | 259881.2864 | 276914 | 381389 | 397517.56 | 611801.9062 | 674431.56 | -62629.6538 | 0.90714
Single Family - IHWAP, Contractors Channel, BNP, Kits | 9688402.4933 | 7639105.2269 | 1861709.0962 | 5625727.0057 | 5750224.8368 | 17327507.7202 | 7611933.933 | 9715573.7872 | 2.2764
Elementary Education Kits (EEE) | 4037448.1412 | 4809570.9864 | 183195 | 326610 | 326610 | 8847019.1276 | 509805 | 8337214.1276 | 17.3537
Energy-Savings Kits (ESK) | 4732576.638 | 5968095.6464 | 381624 | 787282 | 787282 | 10700672.2844 | 1168906 | 9531766.2844 | 9.1544
Home Energy Efficiency Rebates (HEER) | 35210455.509 | 32349563.5921 | 1425762 | 2399446 | 15328123.9767 | 67560019.1011 | 16753885.9767 | 50806133.1244 | 4.0325
Home Energy Reports | 3326840.2804 | 2326761.0926 | 302374 | 577333 | 577333 | 5653601.373 | 879707 | 4773894.373 | 6.4267
Home Energy Savings/HEA | 6432580.5771 | 5111550.3461 | 1592562 | 1296876 | 5674585.5002 | 11544130.9231 | 7267147.5002 | 4276983.4229 | 1.5885
Multi-Family Program | 4278991.4476 | 3202111.8713 | 970960 | 755980 | 1677543.2499 | 7481103.3189 | 2648503.2499 | 4832600.069 | 2.8247
Residential New Construction | 6416420.9526 | 6068779.1804 | 347610 | 462870 | 3611276.2498 | 12485200.133 | 3958886.2498 | 8526313.8832 | 3.1537
Market Transformation | 0 | 0 | 1378969 | 0 | 0 | 0 | 1378969 | -1378969 | 0
Business and Public Sector Total | 51316688.1361 | 37834360.7654 | 5173908 | 5726456 | 15728651.0021 | 89151048.9015 | 20902559.0021 | 68248489.8994 | 4.2651
Income Qualified Total | 20178113.9142 | 16054532.759 | 4438545 | 9372030 | 9580481.0564 | 36232646.6732 | 14019026.0564 | 22213620.6169 | 2.5845
Residential Total | 64435313.5459 | 59836432.7152 | 5204087 | 6606397 | 27982753.9766 | 124271746.2611 | 33186840.9766 | 91084905.2845 | 3.7446
Market Transformation Total | 0 | 0 | 1378969 | 0 | 0 | 0 | 1378969 | -1378969 | 0
Other Portfolio Costs |  |  | 7387717 | 0 | 0 |  | 7387717 | -7387717
Portfolio Total | 135930115.5961 | 113725326.2396 | 23583226 | 21704883 | 53291886.0351 | 249655441.8358 | 76875112.0351 | 172780329.8007 | 3.2475
Portfolio Total, without Income Qualified (IQ) | 115752001.6819 | 97670793.4806 | 19144681 | 12332853 | 43711404.9787 | 213422795.1626 | 62856085.9787 | 150566709.1839 | 3.3954

## 2023 TRC wo NEI
TRC Results for Nicor Gas, 2023 Programs (Societal Discount Rate, Plan 4 Avoided Costs)
Program | Benefits |  | Costs |  |  | IL Total Resource Cost (TRC) Test
| Avoided Gas Savings | Only Measure NEI Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | IL TRC Benefits | IL TRC Costs | IL TRC Test Net Benefits | IL TRC Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (j) =
[6 empty] | (b+c) | (d+f) | (g-h) | (g/h)
Business Custom Rebates, Plus Nicor Gas only RCx | 25417111.996 | 10931.9397 | 1576248.0874 | 2418384.8844 | 12359542.3806 | 25428043.9357 | 13935790.468 | 11492253.4677 | 1.8247
Business Energy Efficiency Rebates | 13404706.9915 | 515645.5146 | 2068420 | 1557763 | 1618800.5059 | 13920352.5062 | 3687220.5059 | 10233132.0003 | 3.7753
Coordinated Non-Residential New Construction | 1760040.3112 | 0 | 214816 | 219185 | 219185 | 1760040.3112 | 434001 | 1326039.3112 | 4.0554
Coordinated Retro Commissioning | 1079014.9845 | 0 | 131125.9126 | 201182.1156 | 201182.1156 | 1079014.9845 | 332308.0282 | 746706.9562 | 3.247
Small Business Program | 4822604.3435 | 346652.9063 | 931938 | 671092 | 671092 | 5169257.2498 | 1603030 | 3566227.2498 | 3.2247
Strategic Energy Management | 4833209.5093 | 0 | 251360 | 658849 | 658849 | 4833209.5093 | 910209 | 3923000.5093 | 5.31
Affordable Housing New Construction (AHNC) | 165812.4934 | 0 | 273364 | 46434 | 114258.6653 | 165812.4934 | 387622.6653 | -221810.1718 | 0.42777
Multi-Family - IHWAP, Contractors Channel, BNP, Kits | 9971978.3078 | 735316.2459 | 2026557.9038 | 3318479.9943 | 3318479.9943 | 10707294.5537 | 5345037.8981 | 5362256.6556 | 2.0032
Public Housing Energy Savings | 351920.6197 | 0 | 276914 | 381389 | 397517.56 | 351920.6197 | 674431.56 | -322510.9403 | 0.5218
Single Family - IHWAP, Contractors Channel, BNP, Kits | 9688402.4933 | 544370.0112 | 1861709.0962 | 5625727.0057 | 5750224.8368 | 10232772.5044 | 7611933.933 | 2620838.5714 | 1.3443
Elementary Education Kits (EEE) | 4037448.1412 | 1844218.2163 | 183195 | 326610 | 326610 | 5881666.3576 | 509805 | 5371861.3576 | 11.5371
Energy-Savings Kits (ESK) | 4732576.638 | 2508100.4603 | 381624 | 787282 | 787282 | 7240677.0982 | 1168906 | 6071771.0982 | 6.1944
Home Energy Efficiency Rebates (HEER) | 35210455.509 | 6650256.1517 | 1425762 | 2399446 | 15328123.9767 | 41860711.6607 | 16753885.9767 | 25106825.684 | 2.4986
Home Energy Reports | 3326840.2804 | 0 | 302374 | 577333 | 577333 | 3326840.2804 | 879707 | 2447133.2804 | 3.7818
Home Energy Savings/HEA | 6432580.5771 | 406630.8976 | 1592562 | 1296876 | 5674585.5002 | 6839211.4747 | 7267147.5002 | -427936.0255 | 0.94111
Multi-Family Program | 4278991.4476 | 49482.2719 | 970960 | 755980 | 1677543.2499 | 4328473.7195 | 2648503.2499 | 1679970.4696 | 1.6343
Residential New Construction | 6416420.9526 | 1376929.1159 | 347610 | 462870 | 3611276.2498 | 7793350.0685 | 3958886.2498 | 3834463.8187 | 1.9686
Market Transformation | 0 | 0 | 1378969 | 0 | 0 | 0 | 1378969 | -1378969 | 0
Business and Public Sector Total | 51316688.1361 | 873230.3606 | 5173908 | 5726456 | 15728651.0021 | 52189918.4967 | 20902559.0021 | 31287359.4946 | 2.4968
Income Qualified Total | 20178113.9142 | 1279686.2571 | 4438545 | 9372030 | 9580481.0564 | 21457800.1713 | 14019026.0564 | 7438774.1149 | 1.5306
Residential Total | 64435313.5459 | 12835617.1138 | 5204087 | 6606397 | 27982753.9766 | 77270930.6596 | 33186840.9766 | 44084089.683 | 2.3284
Market Transformation Total | 0 | 0 | 1378969 | 0 | 0 | 0 | 1378969 | -1378969 | 0
Other Portfolio Costs |  |  | 7387717 | 0 | 0 |  | 7387717 | -7387717
Portfolio Total | 135930115.5961 | 14988533.7315 | 23583226 | 21704883 | 53291886.0351 | 150918649.3276 | 76875112.0351 | 74043537.2926 | 1.9632
Portfolio Total, without Income Qualified (IQ) | 115752001.6819 | 13708847.4744 | 19144681 | 12332853 | 43711404.9787 | 129460849.1563 | 62856085.9787 | 66604763.1776 | 2.0596

## 2023 PACT
Program Administrator Cost Test (PACT) Results for Nicor Gas, 2023 Programs (WACC Discount Rate, Plan 4 Avoided Costs)
Program | Benefits |  | Costs |  |  | Program Administrator Cost Test (PACT)
| Avoided Gas Savings | Only Measure NEI Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | PACT Benefits | PACT Costs | PACT Test Net Benefits | PACT Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b+c) | (d+e) | (g-h) | (g/h)
Business Custom Rebates, Plus Nicor Gas only RCx | 17511537.7873 | 9596.5507 | 1576248.0874 | 2418384.8844 | 12359542.3806 | 17521134.338 | 3994632.9718 | 13526501.3662 | 4.3862
Business Energy Efficiency Rebates | 11039040.0749 | 448203.6173 | 2068420 | 1557763 | 1618800.5059 | 11487243.6923 | 3626183 | 7861060.6923 | 3.1679
Coordinated Non-Residential New Construction | 1175824.8971 | 0 | 214816 | 219185 | 219185 | 1175824.8971 | 434001 | 741823.8971 | 2.7093
Coordinated Retro Commissioning | 912138.007 | 0 | 131125.9126 | 201182.1156 | 201182.1156 | 912138.007 | 332308.0282 | 579829.9787 | 2.7449
Small Business Program | 4262804.6933 | 304748.8969 | 931938 | 671092 | 671092 | 4567553.5903 | 1603030 | 2964523.5903 | 2.8493
Strategic Energy Management | 4212544.6142 | 0 | 251360 | 658849 | 658849 | 4212544.6142 | 910209 | 3302335.6142 | 4.6281
Affordable Housing New Construction (AHNC) | 121651.1195 | 0 | 273364 | 46434 | 114258.6653 | 121651.1195 | 319798 | -198146.8805 | 0.3804
Multi-Family - IHWAP, Contractors Channel, BNP, Kits | 7117603.5887 | 611533.8823 | 2026557.9038 | 3318479.9943 | 3318479.9943 | 7729137.471 | 5345037.8981 | 2384099.5729 | 1.446
Public Housing Energy Savings | 252819.232 | 0 | 276914 | 381389 | 397517.56 | 252819.232 | 658303 | -405483.768 | 0.38405
Single Family - IHWAP, Contractors Channel, BNP, Kits | 6869830.8238 | 452702.8887 | 1861709.0962 | 5625727.0057 | 5770345.2128 | 7322533.7125 | 7487436.1019 | -164902.3894 | 0.97798
Elementary Education Kits (EEE) | 2868974.694 | 1528411.7344 | 183195 | 326610 | 326610 | 4397386.4284 | 509805 | 3887581.4284 | 8.6256
Energy-Savings Kits (ESK) | 3340382.2366 | 2075483.4701 | 381624 | 787282 | 787282 | 5415865.7067 | 1168906 | 4246959.7067 | 4.6333
Home Energy Efficiency Rebates (HEER) | 25435833.5439 | 5445921.5532 | 1425762 | 2399446 | 15724922.8962 | 30881755.0971 | 3825208 | 27056547.0971 | 8.0732
Home Energy Reports | 2899618.3754 | 0 | 302374 | 577333 | 577333 | 2899618.3754 | 879707 | 2019911.3754 | 3.2961
Home Energy Savings/HEA | 4550039.7391 | 334500.8502 | 1592562 | 1296876 | 5674585.5002 | 4884540.5893 | 2889438 | 1995102.5893 | 1.6905
Multi-Family Program | 3205916.3229 | 41422.0986 | 970960 | 755980 | 1677543.2499 | 3247338.4215 | 1726940 | 1520398.4215 | 1.8804
Residential New Construction | 4526028.4595 | 1036959.8175 | 347610 | 462870 | 3611276.2498 | 5562988.277 | 810480 | 4752508.277 | 6.8638
Market Transformation | 0 | 0 | 1378969 | 0 | 0 | 0 | 1378969 | -1378969 | 0
Business and Public Sector Total | 39113890.0738 | 762549.065 | 5173908 | 5726456 | 15728651.0021 | 39876439.1388 | 10900364 | 28976075.1388 | 3.6583
Income Qualified Total | 14361904.764 | 1064236.771 | 4438545 | 9372030 | 9600601.4323 | 15426141.535 | 13810575 | 1615566.535 | 1.117
Residential Total | 46826793.3715 | 10462699.5239 | 5204087 | 6606397 | 28379552.896 | 57289492.8954 | 11810484 | 45479008.8954 | 4.8507
Market Transformation Total | 0 | 0 | 1378969 | 0 | 0 | 0 | 1378969 | -1378969 | 0
Other Portfolio Costs |  |  | 7387717 |  |  |  | 7387717 | -7387717
Portfolio Total | 100302588.2093 | 12289485.3599 | 23583226 | 21704883 | 53708805.3305 | 112592073.5692 | 45288109 | 67303964.5692 | 2.4861
Portfolio Total, without Income Qualified (IQ) | 85940683.4453 | 11225248.5889 | 19144681 | 12332853 | 44108203.8982 | 97165932.0342 | 31477534 | 65688398.0342 | 3.0868

## 2023 PACT wo NEI
Program Administrator Cost Test (PACT) Results for Nicor Gas, 2023 Programs (WACC Discount Rate, Plan 4 Avoided Costs)
Program | Benefits |  | Costs |  |  | Program Administrator Cost Test (PACT)
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | PACT Benefits | PACT Costs | PACT Test Net Benefits | PACT Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b) | (d+e) | (g-h) | (g/h)
Business Custom Rebates, Plus Nicor Gas only RCx | 17511537.7873 |  | 1576248.0874 | 2418384.8844 | 12359542.3806 | 17511537.7873 | 3994632.9718 | 13516904.8155 | 4.3838
Business Energy Efficiency Rebates | 11039040.0749 |  | 2068420 | 1557763 | 1618800.5059 | 11039040.0749 | 3626183 | 7412857.0749 | 3.0443
Coordinated Non-Residential New Construction | 1175824.8971 |  | 214816 | 219185 | 219185 | 1175824.8971 | 434001 | 741823.8971 | 2.7093
Coordinated Retro Commissioning | 912138.007 |  | 131125.9126 | 201182.1156 | 201182.1156 | 912138.007 | 332308.0282 | 579829.9787 | 2.7449
Small Business Program | 4262804.6933 |  | 931938 | 671092 | 671092 | 4262804.6933 | 1603030 | 2659774.6933 | 2.6592
Strategic Energy Management | 4212544.6142 |  | 251360 | 658849 | 658849 | 4212544.6142 | 910209 | 3302335.6142 | 4.6281
Affordable Housing New Construction (AHNC) | 121651.1195 |  | 273364 | 46434 | 114258.6653 | 121651.1195 | 319798 | -198146.8805 | 0.3804
Multi-Family - IHWAP, Contractors Channel, BNP, Kits | 7117603.5887 |  | 2026557.9038 | 3318479.9943 | 3318479.9943 | 7117603.5887 | 5345037.8981 | 1772565.6906 | 1.3316
Public Housing Energy Savings | 252819.232 |  | 276914 | 381389 | 397517.56 | 252819.232 | 658303 | -405483.768 | 0.38405
Single Family - IHWAP, Contractors Channel, BNP, Kits | 6869830.8238 |  | 1861709.0962 | 5625727.0057 | 5770345.2128 | 6869830.8238 | 7487436.1019 | -617605.278 | 0.91751
Elementary Education Kits (EEE) | 2868974.694 |  | 183195 | 326610 | 326610 | 2868974.694 | 509805 | 2359169.694 | 5.6276
Energy-Savings Kits (ESK) | 3340382.2366 |  | 381624 | 787282 | 787282 | 3340382.2366 | 1168906 | 2171476.2366 | 2.8577
Home Energy Efficiency Rebates (HEER) | 25435833.5439 |  | 1425762 | 2399446 | 15724922.8962 | 25435833.5439 | 3825208 | 21610625.5439 | 6.6495
Home Energy Reports | 2899618.3754 |  | 302374 | 577333 | 577333 | 2899618.3754 | 879707 | 2019911.3754 | 3.2961
Home Energy Savings/HEA | 4550039.7391 |  | 1592562 | 1296876 | 5674585.5002 | 4550039.7391 | 2889438 | 1660601.7391 | 1.5747
Multi-Family Program | 3205916.3229 |  | 970960 | 755980 | 1677543.2499 | 3205916.3229 | 1726940 | 1478976.3229 | 1.8564
Residential New Construction | 4526028.4595 |  | 347610 | 462870 | 3611276.2498 | 4526028.4595 | 810480 | 3715548.4595 | 5.5844
Market Transformation | 0 |  | 1378969 | 0 | 0 | 0 | 1378969 | -1378969 | 0
Business and Public Sector Total | 39113890.0738 | 0 | 5173908 | 5726456 | 15728651.0021 | 39113890.0738 | 10900364 | 28213526.0738 | 3.5883
Income Qualified Total | 14361904.764 | 0 | 4438545 | 9372030 | 9600601.4323 | 14361904.764 | 13810575 | 551329.764 | 1.0399
Residential Total | 46826793.3715 | 0 | 5204087 | 6606397 | 28379552.896 | 46826793.3715 | 11810484 | 35016309.3715 | 3.9648
Market Transformation Total | 0 | 0 | 1378969 | 0 | 0 | 0 | 1378969 | -1378969 | 0
Other Portfolio Costs |  |  | 7387717 |  |  |  | 7387717 | -7387717
Portfolio Total | 100302588.2093 | 0 | 23583226 | 21704883 | 53708805.3305 | 100302588.2093 | 45288109 | 55014479.2093 | 2.2148
Portfolio Total, without Income Qualified (IQ) | 85940683.4453 | 0 | 19144681 | 12332853 | 44108203.8982 | 85940683.4453 | 31477534 | 54463149.4453 | 2.7302

## Other Benefits Details
OTHER BENEFITS DETAILS
Program | NEBs (AQB) | Avoided Water Savings | Avoided Env. Adder Costs | Avoided Electric Savings | All Other Benefits w/ NEI (NEBs, Water, GHG, Elec) | Only Measure NEI Benefits (Water, Elec)
Business Custom Rebates, Plus Nicor Gas only RCx | 6462872.7641 | 10931.9397 | 12109365.49 | 0 | 18583170.1938 | 10931.9397
Business Energy Efficiency Rebates | 3440458.0076 | 497527.1075 | 6125791.2331 | 18118.4072 | 10081894.7554 | 515645.5146
Coordinated Non-Residential New Construction | 445626.2831 | 0 | 842094.6216 | 0 | 1287720.9047 | 0
Coordinated Retro Commissioning | 278135.4371 | 0 | 490304.3651 | 0 | 768439.8022 | 0
Small Business Program | 1234221.8677 | 336769.2815 | 2151958.6404 | 9883.6248 | 3732833.4144 | 346652.9063
Strategic Energy Management | 1230509.3126 | 0 | 2149792.3824 | 0 | 3380301.695 | 0
Affordable Housing New Construction (AHNC) | 42664.7566 | 0 | 78621.1532 | 0 | 121285.9099 | 0
Multi-Family - IHWAP, Contractors Channel, BNP, Kits | 2554938.0574 | 734532.3141 | 4744006.0324 | 783.9318 | 8034260.3358 | 735316.2459
Public Housing Energy Savings | 91190.2301 | 0 | 168691.0563 | 0 | 259881.2864 | 0
Single Family - IHWAP, Contractors Channel, BNP, Kits | 2480427.1812 | 542162.9754 | 4614308.0346 | 2207.0357 | 7639105.2269 | 544370.0112
Elementary Education Kits (EEE) | 1037708.641 | 1844218.2163 | 1927644.1291 | 0 | 4809570.9864 | 1844218.2163
Energy-Savings Kits (ESK) | 1208854.0705 | 2371913.4744 | 2251141.1156 | 136186.9859 | 5968095.6464 | 2508100.4603
Home Energy Efficiency Rebates (HEER) | 9016160.7246 | 0 | 16683146.7158 | 6650256.1517 | 32349563.5921 | 6650256.1517
Home Energy Reports | 846995.7569 | 0 | 1479765.3357 | 0 | 2326761.0926 | 0
Home Energy Savings/HEA | 1644199.46 | 406630.8976 | 3060719.9884 | 0 | 5111550.3461 | 406630.8976
Multi-Family Program | 1114073.6007 | 49482.2719 | 2038555.9986 | 0 | 3202111.8713 | 49482.2719
Residential New Construction | 1638888.6633 | 0 | 3052961.4011 | 1376929.1159 | 6068779.1804 | 1376929.1159
Market Transformation | 0 | 0 | 0 | 0 | 0 | 0
Business and Public Sector Total | 13091823.6722 | 845228.3286 | 23869306.7326 | 28002.032 | 37834360.7654 | 873230.3606
Income Qualified Total | 5169220.2254 | 1276695.2896 | 9605626.2766 | 2990.9675 | 16054532.759 | 1279686.2571
Residential Total | 16506880.9171 | 4672244.8603 | 30493934.6844 | 8163372.2535 | 59836432.7152 | 12835617.1138
Market Transformation Total | 0 | 0 | 0 | 0 | 0 | 0
Portfolio Total | 34767924.8147 | 6794168.4785 | 63968867.6935 | 8194365.253 | 113725326.2396 | 14988533.7315
Portfolio Total, without Income Qualified (IQ) | 29598704.5893 | 5517473.1889 | 54363241.417 | 8191374.2855 | 97670793.4806 | 13708847.4744
Program | Verified Net Savings (therms) | TRC Test (w/ NEI) | TRC Test (w/o NEI) | PACT Test (w/ NEI) | PACT Test (w/o NEI)
Business Custom Rebates, Plus Nicor Gas only RCx | 2098988 | 3.1574 | 1.8247 | 4.3862 | 4.3838
Business Energy Efficiency Rebates | 2768090.0688 | 6.3697 | 3.7753 | 3.1679 | 3.0443
Coordinated Non-Residential New Construction | 126500.09 | 7.0225 | 4.0554 | 2.7093 | 2.7093
Coordinated Retro Commissioning | 188481.28 | 5.5595 | 3.247 | 2.7449 | 2.7449
Small Business Program | 1183659.53 | 5.337 | 3.2247 | 2.8493 | 2.6592
Strategic Energy Management | 1029263 | 9.0238 | 5.31 | 4.6281 | 4.6281
Affordable Housing New Construction (AHNC) | 16490.93 | 0.74066 | 0.42777 | 0.3804 | 0.3804
Multi-Family - IHWAP, Contractors Channel, BNP, Kits | 935005.1 | 3.3688 | 2.0032 | 1.446 | 1.3316
Public Housing Energy Savings | 50960 | 0.90714 | 0.5218 | 0.38405 | 0.38405
Single Family - IHWAP, Contractors Channel, BNP, Kits | 881609.79 | 2.2764 | 1.3443 | 0.97798 | 0.91751
Elementary Education Kits (EEE) | 458117.51 | 17.3537 | 11.5371 | 8.6256 | 5.6276
Energy-Savings Kits (ESK) | 444549 | 9.1544 | 6.1944 | 4.6333 | 2.8577
Home Energy Efficiency Rebates (HEER) | 3423178.77 | 4.0325 | 2.4986 | 8.0732 | 6.6495
Home Energy Reports | 708472 | 6.4267 | 3.7818 | 3.2961 | 3.2961
Home Energy Savings/HEA | 576884.75 | 1.5885 | 0.94111 | 1.6905 | 1.5747
Multi-Family Program | 590938.67 | 2.8247 | 1.6343 | 1.8804 | 1.8564
Residential New Construction | 562950 | 3.1537 | 1.9686 | 6.8638 | 5.5844
Market Transformation | 0 | 0 | 0 | 0 | 0
Business and Public Sector Total | 7394981.9688 | 4.2651 | 2.4968 | 3.6583 | 3.5883
Income Qualified Total | 1884065.82 | 2.5845 | 1.5306 | 1.117 | 1.0399
Residential Total | 6765090.7 | 3.7446 | 2.3284 | 4.8507 | 3.9648
Market Transformation Total | 0 | 0 | 0 | 0 | 0
Portfolio Total | 16044138.4888 | 3.2475 | 1.9632 | 2.4861 | 2.2148
Portfolio Total, without Income Qualified (IQ) | 14160072.6688 | 3.3954 | 2.0596 | 3.0868 | 2.7302